## Slide 1: Introduction to LabVIEW

## Slide 2
Overview
Objectives
Background
Materials
Procedure
Report/Presentation
Closing

## Slide 3
Objective
Familiarization with graphical programming
Obtain data from outside the computer using simulated instrumentation
Use this knowledge to create programs in LabVIEW
  Heating and cooling system
  Lighting system

## Slide 4
What is LabVIEW?
Laboratory Virtual Instrument Engineering Workbench
Graphical programming language
Used for data acquisition, instrument control, and signal processing
Based on G programming language

## Slide 5
Text-Based
Text-based code for a simple calculator

## Slide 6
Graphic-Based
Graphic-based code for a simple calculator

## Slide 7
LabVIEW Programs (VIs)
Called “Virtual Instruments” (VIs)
Appearance and operation imitates actual physical instruments
Without
With

## Slide 8
Graphic-Based
Back Panel (Block Diagram): The internal circuit where the program code is written
Front Panel - User Interface (UI), where the program is controlled and executed

## Slide 9
Controls and Indicators
Icons in back panel represent objects in front panel
Controls can be identified by a triangle on the right of the block shown on the back panel

## Slide 10
Toolbar & Tools Panel
Run once
Run Continuously
Stop
Pause
Highlight Execution
Automatic Tool Selector
Operating Tool
Positioning Tool
Labeling Tool
Wiring Tool
Scrolling Tool
Probe Tool
Coloring Tool
Get Color

## Slide 11
LabVIEW Functions (View > Functions)
The Functions palette contains the VIs, functions and constants you use to create the block diagram
Only items highlighted in red will be covered in this course

## Slide 12
NI-ELVIS Board
National Instruments’ Educational Laboratory Virtual Instrumentation Suite Board
Interface that exchanges data (sends/receives) between the computer and the outside world
  References: See EG1003 Online Manual, National Instruments documentation, and other LabVIEW oriented websites (i.e. IIT’s LabVIEW for Dummies©)

## Slide 13
Materials
Computer with LabVIEW
NI-ELVIS board
Wires
3D-Printed Heat Cube

## Slide 14
Procedure
Program 1 (Thermal Control VI)
Program requirements – Automatic Mode
  Regulate house air temperature
  AC is ON when temperature is greater than 80oF
  Heater is ON when temperature is less than 60oF
  Both OFF when the temperature is between 60oF & 80oF
Program requirements – Manual Mode
  Heater and AC power are controlled directly by user (overrides automatic mode)

## Slide 15
Procedure
Front panel must have:
  3 LEDs: AC, Heater, and Manual operation
  3 switches for AC, heater, and system operation (automatic/manual)
  A temperature control represented by a thermometer
Back panel should have:
  A Boolean case statement to control manual and automatic operations

## Slide 16
Procedure
Real World Application
Functional heating/cooling system “Heat Cube”
Import premade VIs to control fans, heaters, and thermometers using your logic program
  Temperature Reading VI: receive real time data
  Heat Control VI: power heating element
  Cooling Control VI: power fan/cooling unit

## Slide 17
Procedure
Program 2 (Lighting System VI)
Program Requirements
  Control the lights in four rooms
  Turn off all lights with a master switch
Front Panel
  Four LEDs
  Five Switches
Back Panel
  Case Structure
  NI ELVISmx Digital Writer

## Slide 18
Procedure
Real World Application
Functional lighting system via LED’s on the NI-ELVIS board
Control lights on board using front panel on computer

## Slide 19
Report/Presentation
Submit a zip file with all LabVIEW programs (.vi)
  Submit BEFORE end of lab
Team presentation
Individual report
Discussion topics in the manual
Scan in data and lab notes

## Slide 20
Closing
Have all lab notes signed by TA
Each team member should have turn using software
Save all VIs
Submit all work electronically
Return all unused materials to TA

## Slide 21
Introduction to LabVIEW
QUESTIONS?